INDEX OF EXISTING STRUCTURES

DESCRIPTIVE TITLE (Current USE) by Department

U. S. NAVAL STATION, MIDWAY ISLAND (NAVSTA)									Unit of

Bldg.No.	LOC.	Descriptive Title (Current Use)				Quantity		Measure	Planned Use		HABS	Current Status or Use 2023

S-1		F-4	A/C Ready Fuel Storage Tank – AVGAS			  567,000	  GAL		  Same

S-2		F-4	Small Craft Ready Fuel Storage Tank-D.O.	  567,000	  GAL		  Same

S-3		G-4	Small Craft Ready Fuel Storage Tank-D.O.	  567,000	  GAL		  Ø

S-4		G-4	Small Craft Ready Fuel Storage Tank-D.O.	  567,000	  GAL		  Ø

S-5		F-4	A/C Ready Fuel Storage Tank – AVGAS			  420,000	  GAL

S-6		F-4	A/C Ready Fuel Storage Tank – AVGAS			  420,000	  GAL		  MOGAS

S-21		F-4	A/C Ready Fuel Storage Tank – JP-4			1,134,400	  GAL		  D.O.

S-22		G-4	A/C Ready Fuel Storage Tank – JP-4			1,134,400	  GAL		  D.O.

S-23		G-4	A/C Ready Fuel Storage Tank – JP-4			1,134,400	  GAL		  AVGAS

S-24		G-4	A/C Ready Fuel Storage Tank – JP-4			1,134,400	  GAL		  AVGAS

S-25		F-4	Marine Ready Fuel Storage Tank – NSFO		2,310,000	  GAL		  Same

S-26		F-4	Marine Ready Fuel Storage Tank – NSFO		2,310,000	  GAL		  Same

S-27		G-4	A/C Ready Fuel Storage Tank – JP-4			2,100,000	  GAL		  Same

S-28		G-4	A/C Ready Fuel Storage Tank – JP-4			2,100,000	  GAL		  Same

S-29		G-4	A/C Ready Fuel Storage Tank – JP-4			2,100,000	  GAL		  Same

S-30		F-4	A/C Ready Fuel Storage Tank – JP-4			2,100,000	  GAL		  Same

110		F-3	Transformer Station										150	  KV		  Same

111		F-2	Storage, Organizational-Special Service		 3,052	  SF		  Excess

117		F-3	Transit Shed											40,000	  SF		  Same

117A		F-3	Port Control Office									 1,200	  SF		  Same

123		F-3	Retail Warehouse – NX								12,900	  SF		  Excess

124		F-3	Retail Warehouse – NX								12,900	  SF		Demolition

130		F-3	Hobby Shop – Bicycle										576	  SF		Demolition

136		F-3	Special Services Center								10,096	  SF		  Excess

137		F-3	Hobby Shop – Wood										 4,237	  SF		Demolition

138		F-3	General Warehouse – R.I.							 4,740	  SF		Demolition

139		F-3	Retail Warehouse – NX								 4,740	  SF		Demolition

141		F-3	Retail Warehouse – NX								 4,740	  SF		Demolition

143		F-3	General Warehouse – R.I.							 4,740	  SF		Demolition

144*		F-3	Electric Power Plant, Diesel – No. 2			 1,600	  KV		  Excess			YES	“Diesel Power Plant”

144				S.W. Pumping Station									 1,000	  GM		  Excess			YES	“Salt-Water Pumping Station”

151*		E-4	General Warehouse – R.I.							44,640	  SF		  Same			YES	“Seaplane Hangar” (Ø, collapsed)

151*				Administrative Offices – Inactive				12,480	  SF	  Spec Ser Cen		YES	“Seaplane Hangar” (Ø, collapsed)

170		F-2	Switching Station											243	  SF		  Same

172		F-2	Storage, Organizational-Harbor					 4,000	  SF		Demolition

173		F-2	Rigger Shop – Harbor									 4,000	  SF		Demolition

174		F-2	Boat Shop – Harbor									 4,000	  SF		Demolition		YES	“Quonset Hut”

178		G-6	Public Toilet												473	  SF		Demolition

180		F-2	Transformer Station										 75	  KV		  Same

473	  SF		  Same

189		F-2	Storage, Organizational – Harbor						225	  SF		Demolition		YES	“Officers’ Head”

200		E-3	Transformer Station										150	  KV		  Same

213		F-3	Barracks, Civilian w/o Mess							 12	  MN		Demolition

215*		F-3	Barracks, Civilian w/o mess							130	  MN		  Same

217		F-3	Barracks, EM w/o Mess									128	  MN		  Excess

219		F-4	PW Maintenance Storage								20,211	  SF		Demolition

221		F-4	PW Maintenance Storage									604	  SF		Demolition

222		F-4	PW Maintenance Shop									 2,232	  SF		Demolition

S-225*	F-4	Filling Station											  2	  OL		  Same

227		F-3	Recreation Building									 1,925	  SF		  Same

U. S. NAVAL STATION, MIDWAY ISLAND (NAVSTA) (cont.)						Unit of

Bldg.No.	LOC.	Descriptive Title (Current Use)				Quantity		Measure	Planned Use		HABS	Current Status or Use 2023

S-228		F-3	Sewage Pumping Station									300	  GM		  Same

231*		F-4	Maintenance Shop – Fuel Farm						 1,393	  SF		Demolition

231				Barracks, EM w/o Mess									 11	  MN		Demolition

232		F-4	Flammables Storehouse – POL						 2,604	  SF		  Same

S-245		F-4	Vehicle Ready Fuel Storage Tank – MOGAS	  100,000	  GA		  Same

S-246		E-4	Storage Tank Underground (??)					  516,770	  GA		  Ø

254		E-4	Administrative Offices – Headquarters			15,795	  SF		  Same

S-256		E-4	S.W. Storage Tank – Elevated						50,000	  GAL		  Same

259*		E-4	Exchange													10,978	  SF		  Same			YES

259*				Bowling Alley											 5,160	  SF		  Same			YES	“Midway Bowl” (operating lanes 5-12)

259*				Post Office												 1,853	  SF		  Same			YES

259*				Theater													 1,000	 SEAT		  Same			YES	“Midway Island Station Theater” (Ø)

259*				Bank															600	  SF		  Same			YES

S-269		F-4	Tank Truck Fueling Facility – D.O./MOGAS			  3	  OL		  Same

S-271		F-4	PW Maintenance Storage									340	  SF		  Same

S-276		F-4	Playing Court											 3,600	  SF		  Ø

S-277		F-4	Playing Court											 6,160	  SF		  Ø

S-283		F-3	Seaplane Ramp												833	  SF		  Ø

S-284		F-3	Connected Fuel Oil Storage Tank – D.O.			18,900	  GA		  Excess

S-285		F-3	Salt Water Intake Basin									  1	  EA		  Excess

S-287		F-2	Storage Tank, Underground (2)						 1,000	  ???		  Ø

S-294		F-1	Small Craft Berthing (3 piers)						183	  LF		  Same

300		F-4	Transformer Station										 75	  KV		  Same

310		F-4	Switching Station											243	  SF		  Same

312		E-4	Laundry House												340	  SF		  Same

315		E-4	Public Quarters, Civilian – Prior 1950				  2	  FA		  Same

321		E-4	Administration Offices – Security				 1,876	  SF		Demolition

S-323		F-5	Sewage Pumping Station									600	  GM		  Same

#26		C-6	Storage, Organizational									348	  SF		Demolition

329*		E-4	Dispensary w/Beds										12,051	  SF		  Same

329*				Dental Clinic											 3,456	  SF		  Same

329*				Barracks EM w/o Mess										  8	  MN		  Same

335		E-4	Barracks, EM w/o Mess									102	  MN		  Same			YES	“Kahn Barracks Type”

336		E-4	Barracks, EM w/o Mess									102	  MN		  Same			YES	“Kahn Barracks Type”

339*		E-4	Library													 4,880	  SF		  Same

339*				Exchange													 2,647	  SF		Demolition

339*				Messhall – Inactive									 8,917	  SF		Demolition

340		D-4	Transformer Station										250	  KV		  Same

342*		E-4	PW Maintenance Shop									 2,657	  SF		  Same			YES	“Paint & Oil Storehouse”

342*				Automotive Vehicle Maintenance Fac					900	  SF		  Same			YES	“Paint & Oil Storehouse”

343		D-4	Automotive Vehicle Maintenance Shop				 7,502	  SF		  Same			YES	“Garage & Fire House”

347		E-4	F.W. Treatment Facility – CHLOR						817	  SF		  Same

348*		D-4	Administrative Offices – PW						13,031	  SF		  Same			YES	“Armory”

348*				PW Maintenance Shop									 1,670	  SF		  Same			YES	“Armory”

350		E-4	Transformer Station									 112.5	  KV		  Same

353		D-4	PW Maintenance Shop									 6,324	  SF		  Same			YES	“Station Maintenance Shop”

354*		D-4	Electric Power Plant, Diesel – No. 1			 4,000	  KV		  Same			YES	“Power Plant”

354*				Heating Plant – Oil								 3,416.75	  BH		  Same			YES	“Power Plant”

354*				Substation												 1,500	  KV		  Same			YES	“Power Plant”

S-355		D-4	Connected Fuel Storage – D.O. – NSFO			40,000	  GA		  Same

356*		E-4	General Warehouse, R.I.								37,444	  SF		  Same			YES	“General & Squadron’s Storehouse”

356*				Administration Offices – Supply					10,240	  SF		  Same

357		D-4	PW Maintenance Shop									 9,340	  SF		  Same			YES	“Torpedo Overhaul Shop”

360		E-4	Transformer Station										225	  KV		  Same

U. S. NAVAL STATION, MIDWAY ISLAND (NAVSTA) (cont.)						Unit of

Bldg.No.	LOC.	Descriptive Title (Current Use)				Quantity		Measure	Planned Use		HABS	Current Status or Use 2023

S-361		D-4	Hazardous Storehouse – Supply							390	  SF		  Same			YES	“Electrical Switch Station”

363		D-4	PW Maintenance Shop – Inactive					 7,828	  SF		  Same			YES	“Utility Shop”

365		D-4	Laundry/Dry Cleaning Plant							11,592	  SF		Demolition		YES	“Laundry”

370		E-4	Refueling Vehicle Maintenance Facility				600	  SF		  Same

381		E-5	Brackish Water Pumping Station						300	  GM		  Same

393*		E-4	Automotive Vehicle Maintenance Facility		14,560	  SF		  Same			YES	Demolition (2013) “SKI Warehouse”

393*				Refueling Vehicle Maintenance Facility			 5,340	  SF		  Same			YES	Demolition (2013) “SKI Warehouse”

393*				General Warehouse, R.I.								14,304	  SF		  Same			YES	Demolition (2013) “SKI Warehouse”

393*				PW Maintenance Storage								13,480	  SF		  Same			YES	Demolition (2013) “SKI Warehouse”

401		G-3	Open Storage Area – Drum							 4,125	  SF		  Same

411		G-5	Officers’ Club (Open)								 9,921	  SF		  Same

412*		F-5	BOQ w/Mess													 47	  MN		  Same

412*				Barracks EM w/o Mess										 12	  MN		  Same

412*				Heating Plant – Fac/Oil								 1,675	  ??		  Same

414		F-5	Public Quarters – C.O. – Prior 1950					  1	  FA		  Same			YES	“Commanding Officers’ Quarters”

“Midway House”

415		F-5	Public Quarters – S.O. – Prior 1950					  1	  FA		  Same			YES	“Senior Officers’ Quarters Type”

416		F-5	Public Quarters – S.O. – Prior 1950					  1	  FA		  Same			YES	“Senior Officers’ Quarters Type”

417		F-5	Public Quarters – S.O. – Prior 1950					  1	  FA		  Same			YES	“Senior Officers’ Quarters Type”

418		F-5	Public Quarters – S.O. – Prior 1950					  1	  FA		  Same			YES	“Senior Officers’ Quarters Type”

419		F-5	Public Quarters – S.O. – Prior 1950					  1	  FA		  Same			YES	“Senior Officers’ Quarters Type”

421		F-5	Public Quarters – S.O. – Prior 1950					  1	  FA		  Same			YES	“Senior Officers’ Quarters Type”

422		F-5	Public Quarters – S.O. – Prior 1950					  1	  FA		  Same			YES	“Senior Officers’ Quarters Type”

423		F-5	Public Quarters – S.O. – Prior 1950					  1	  FA		  Same			YES	“Senior Officers’ Quarters Type”

424		F-5	Public Quarters – S.O. – Prior 1950					  1	  FA		  Same			YES	“Senior Officers’ Quarters Type”

425		F-5	PW Maintenance Storage					  			 1,956	  SF		Demolition

428		F-5	Public Quarters – J.O. – Prior 1950					 20	  FA		  Same			NO		Demolition (xxxx) “Splinterville”

434		F-5	Public Quarters – E.M. – Prior 1950					  1	  FA		  Same

435		F-5	Public Quarters – E.M. – Prior 1950					  1	  FA		  Same

436		F-5	Public Quarters – E.M. – Prior 1950					  1	  FA		  Same

437		F-5	Public Quarters – E.M. – Prior 1950					  1	  FA		  Same

438		F-5	Public Quarters – E.M. – Prior 1950					  1	  FA		  Same

439		F-5	Public Quarters – E.M. – Prior 1950					  1	  FA		  Same

441		F-4	Public Quarters – E.M. – Prior 1950					  1	  FA		  Same

442		F-5	Public Quarters – E.M. – Prior 1950					  1	  FA		  Same

443		F-5	Public Quarters – E.M. – Prior 1950					  1	  FA		  Same

444		F-5	Public Quarters – J.O. – Prior 1950					  1	  FA		  Same

445		F-5	Public Quarters – J.O. – Prior 1950					  1	  FA		  Same

446		F-5	Public Quarters – J.O. – Prior 1950					  1	  FA		  Same

447		F-5	Public Quarters – J.O. – Prior 1950					  1	  FA		  Same

448		F-5	Public Quarters – J.O. – Prior 1950					  1	  FA		  Same

449		F-5	Public Quarters – J.O. – Prior 1950					  1	  FA		  Same

451		F-5	Public Quarters – E.M. – Prior 1950					  1	  FA		  Same

452		F-4	Public Quarters – E.M. – Prior 1950					  1	  FA		  Same

457		F-4	Public Quarters – E.M. – Prior 1950					  1	  FA		  Same

458		F-4	Public Quarters – E.M. – Prior 1950					  1	  FA		  Same

S-462		F-4	Pumping Station, D.O.								  -		  -		  Ø

463		F-4	Pumping Station, D.O.								 1,400	  GM		  Same

S-464		F-4	Pumping Station – NSFO								 2,100	  GM		  Same

466		F-3	Administration Offices (Inactive)				 4,20?	  SF		Demolition

500		D-6	???? Shack (Inactive)									228	  SF		  Excess

503		D-6	Transformer Station										 75	  KV		  Same

520		F-6	A/C Maintenance Support Shop 							590	  SF		  Excess

545		C-6	Barracks, E.M. w/o Mess									 10	  MN		  Same

574		E-6	Aviation Warehouse (Inactive)						 6,000	  SF		Demolition

U. S. NAVAL STATION, MIDWAY ISLAND (NAVSTA) (cont.)						Unit of

Bldg.No.	LOC.	Descriptive Title (Current Use)				Quantity		Measure	Planned Use		HABS	Current Status or Use 2023

576		D-6	Aviation Warehouse (Inactive)						 6,000 	  SF 		Demolition

578		D-6	Barracks, EM w/o Mess									 98	  MN		  Same			YES	Demolition (09/2013) “Kahn Barracks Type”

579		D-6	Barracks, EM w/0 Mess									 98	  MN		  Same			YES	Demolition (09/2013) “Kahn Barracks Type”

580		D-6	Transformer Station										150	  KV		  Same

581*		D-6	NCO Club													10,200	  SF		  Same

581*				EM Barracks w/o Mess (Inactive)						 18	  MN		 NCO Club

581*				Brig (Inactive)											700	  SF		  Excess

585*		D-6	Armory – Ord Bldg										 9,862	  SF		  Same

585*				Barrack, EM w/o Mess										  4	  MN		  Excess

586*		D-6	Air Terminal Building (Inactive)					 8,722	  SF		 Barracks		YES	“General Storehouse Marine Corps Reservation”

586*				Structural Fire/Crash Station						 6,161	  SF		  Same			YES	“General Storehouse Marine Corps Reservation”

587		D-7	Barracks, EM w/o mess									 31	  MN		  Same

597		E-7	Storage Tanks – Underground					  -			  -		  Ø

598		E-6	Radio Building										  -			  -		  Ø

609		G-7	Storage, Organization – Ordnance						600	  SF		  Excess

611		F-6	Retail Warehouse – GPO								 3,024	  SF		Demolition

619		G-5	Public Quarters – EM – Prior 1950					  2	  FA		  Same			YES	Demolition (10/2013) “Cable Station Office”

622		G-5	Public Quarters – EM – Prior 1950					  1	  FA		  Same

623		G-5	Public Quarters – EM – Prior 1950					  6	  FA	     Same			YES	Demolition (10/2013)	“Cable Station Staff

Quarters”

626		G-5	Public Quarters – EM – Prior 1950					  1	  FA		  Same			YES	Demolition (10/2013) “Cable Station

Servant’s Quarters”

628		G-5	Public Quarters – EM – Prior 1950					  2	  FA		  Same			YES	Demolition (10/2013) “Cable Station

Superintendent’s Building”

629*		E-5	Public Works Maintenance Storage					 3,680	  SF		  Same

629*				Public Works Maintenance Shop							320	  SF		  Same

631*		F-6	O. G. Administrative Facility						 1,713	  SF		  Same			YES	“Radar Building”

631*				Stand-by Generator Plant							 18.75	  KV		  Same

632		F-6	Public Quarters – EM – Prior							  1	  FA		  Same

S-635		F-6	Beacon A/C													  1	  EA		  Same

637		F-6	Public Quarters – EM – Prior 1950					  1	  FA		  Same

643		F-5	Public Quarters – EM – Prior 1950					  1	  FA		  Same			YES	“Cable Station Mess Hall” (Rehab/Ø)

648		F-6	Recreation Building									 3,048	  SF		  Same

649		F-6	Cold Storage Warehouse, R.I.						35,057	  CF		  Same

651		F-6	General Warehouse, R.I.								 6,000	  SF		Demolition

652		F-6	General Warehouse, R.I.								 6,000	  SF		Demolition

690		F-5	Public Quarters – J.O.									  1	  FA		  Same

S-692		F-6	Sewage Pump Station										600	  GPM		  Same

698		F-5	Public Quarters – J.O.									  1	  FA		  Same

699		F-5	Public Quarters – J.O.									  1	  FA		  Same

S-953		A-9	Magazine, Underground											  -		  Ø

965		B-7	Tetrahedron													  1	  EA		  Same

966		A-9	Cloud Height Set (Projector)							  1	  EA		  Same

967		A-9	Cloud Height Set (Detector)							  1	  EA		  Same

S1119		F-1	Transformer Station										150	  KV		  Same

1120		F-1	Harbor Control Tower										  1	  EA		  Same

1121		F-1	Storage, Organizational – Harbor						41?	  SF		  Same

1122		E-1	Tide Gauge Station										 54	  SF		  Same

1123		F-1	Rectifier Vault											 63	  SF		  Same

1125		E-3	Public Works Maintenance Storage					13,482	  SF		Demolition

S2115		E-3	Seaplane Ramp												853	  SF		  Same			YES	“Seaplane Ramp”

S2123		E-4	Flag Pole													  1	  EA		  Same			YES 	“Midway Park” (1941 Plaque)

Note: 1973 Gooney Bird Statue (Destroyed)

2127		F-4	Filling Station Office									288	  SF		  Same

9	  HO		  Same

U. S. NAVAL STATION, MIDWAY ISLAND (NAVSTA) (cont.)						Unit of

Bldg.No.	LOC.	Descriptive Title (Current Use)				Quantity		Measure	Planned Use		HABS	Current Status or Use 2023

2128		F-4	Golf Course

2401		E-1	Berthing Pier No 6										704	  FB		  Same

2402		F-3	Cold Storage Warehouse, R. I.						34,176	  CF		  Same

2403*		F-4	Thrift Shop													342	  SF		  Same

2404		E-4	EM Service Club/Cafeteria							10,907	  SF		  Same

2407		E-4	Transformer Station										225	  KV		  Same

2409		E-4	Midway Park (Monument & Plaques)						  1	  EA		  Same			YES	“Midway Park” (5” Naval Guns)

2410		F-3	Air Raid/Storm Shelter, Underground				 2,096	  SF		  Same

2411		F-4	Storage, Organizational – Supply						195	  SF		  Same

2412		F-4	Pumping Station AVGAS								 1,400	  GM		  Same

S3126		E-4	Reservoir – Underground							  500,000	  GA		  Same			YES	“Potable Water Reservoir”

S3127		E-4	Reservoir – Underground							  500,000	  GA		  Same			YES	“Potable Water Reservoir”

S3128		E-4	Playing Court – Tennis								 6,010	  SF		  Same

S3131		E-4	Playing Court – Basketball							 5,040	  SF		  Same

S3139		D-4	Power Supply Unit (inactive)							653	  SF		Demolition

S3142		E-4	Transformer Station										 75	  KV		  Same

3501		E-4	Pumping Station										 6,000	  GM		  Same

3502*		E-5	Messhall													 1,000	  MN		  Same

3502*				Heating Plant - ???/Oil								 3,367	  BH		  Same

3503		E-4	Barracks, EM w/o Mess									123	  MN		  Same

3504		E-5	Barracks, EM w/o Mess									123	  MN		  Same

3505		E-5	Barracks, EM w/o Mess									123	  MN		  Same

3506		E-4	Storage, Organizational – Medical					133	  SF		  Same

3507		D-4	Connected Water Storage Tank						50,000	  GA		  Same

3508		D-4	Connected Fuel/Oil Storage Tank – D.O.			10,000	  GA		  Same

3509		D-4	Storage, Organizational									324	  SF		  Same

3510		E-5	Playing Court – Tennis								 6,720	  SF		  Same

3511		D-5	Transformer Station										150	  KV		  Same

3512		E-4	Gymnasium												 8,405	  SF		  Same

3513		E-4	Brig														 1,280	  SF		  Same

3514		E-4	Storage, Organizational – Security					240	  SF		  Same

S4121		F-4	Playing Court – Tennis								 4,752	  SF		  Same

S4122		F-5	Playing Court – Tennis								 5,500	  SF		  Same

S4123		F-5	Playing Court – Tennis								 7,200	  SF		  Same

S4129		G-3	Fueling Pier. No 2									 1,200	  FB		  Same

4130		F-4	A/C Truck Fueling Facility – AVGAS					  4	  OL		  Same

S4131		G-3	Berthing Pier No. 1									 1,160	  FB		  Same

S4132		F-5	Transformer Station										225	  KV		  Same

S4136		E-5	Playing Court – Tennis								 6,000	  SF		  Ø

S4140		E-5	Public Quarters – EM										  1	  FA		  Same

S4143		E-4	Laundry House												 64	  SF		  Same

4201		F-4	Pumping Station – JP-4								 1,500	  GM		  Same

4202		F-4	A/C Truck Fueling Facility	- JP-4					  4	  OL		  Same

4203		F-5	BOQ w/o Mess												 40	  MN		  Excess

4204		F-5	BOQ w/o Mess												 34	  MN		  Excess

4205		F-5	Public Quarters – J.O.									  1	  FA		  Same

4206		F-5	Public Quarters – J.O.									  1	  FA		  Same

4207		F-5	Public Quarters – J.O.									  1	  FA		  Same

4208		F-5	Public Quarters – S.O.									  2	  FA		  Same

4209		F-4	Public Quarters – S.O.									  2	  FA		  Same

4210		F-4	Public Quarters – S.O.									  2	  FA		  Same

4211		F-5	Public Quarters – S.O.									  1	  FA		  Same

4212		F-5	Public Quarters – S. O.									  2	  FA		  Same

4213		F-5	Chapel and Sunday School							 9,536	  SF		  Same			NO		Demolition (09/1996) “Midway Memorial Chapel”

4214		F-4	Transformer Station										150	  KV		  Same

U. S. NAVAL STATION, MIDWAY ISLAND (NAVSTA) (cont.)						Unit of

Bldg.No.	LOC.	Descriptive Title (Current Use)				Quantity		Measure	Planned Use		HABS	Current Status or Use 2023

5126		D-6	Sewage Pumping Station									600	  GM		  Same

5150		E-7	Sewage Pumping Station								 2,000	  GM		  Same

5153		C-6	Heating Plant – Hot Water – Electric				240	  GA		  Same

S5172		D-5	Pumping Station (Well #5) – B.W.						200	  GM		  Same

S5177		D-5	Pumping Station (Well #3) – B.W.						150	  GM		  Same

S5182*	D-6	Pumping Station (High Lift) – B. W.					900	  GM		  Same			YES	“Water Pumping Station”

S5182*			Pumping Station (Well #4) – B.W.						200	  GM		  Same

S5182*			Treatment Facility (Chlorination) – B.W.			 64	  SF		  Same

5191		C-6	Recreation Building									 1,218	  SF		  Same

S5243		C-6	Playing Court – Tennis								 7,200	  SF		  Same

S5247		B-7	B.W. Reservoir – Underground 					  460,000	  GA		  Same			YES	“Rain Water Reservoir”

S5252		B-7	Storage Tank, Underground (10)				  -			  -		  Ø

5267		E-2	Transformer Station										150	  KV		  Same

5299		C-6	G.C.A. Crew Facility										800	  SF		  Same

5301*		D-6	Control Vault – P/W Lighting							422	  SF		  Same

5301*				Standby Generator Plant									 75	  KV		  Same

5301*				Transformer Station										240	  KV		  Same

5302		E-6	Transformer Station										750	  KV		  Same

5303		C-6	F.W. Treatment Facility – Settlement		4,700,000	  GA		  Same

5304		D-5	F.W. Storage Tank – Elevated					  100,000	  GA		  Same

5305		E-5	B.W. Storage Tank – Elevated						40,000	  GA		  Same

5306*		E-5	A/C Maintenance Hangar								57,475	  SF		  Same			NO		“NAF Hangar” (Ø)

5306*				Administrative Offices								35,130	  SF		  Same			NO		“NAF Hangar” (Ø)

5306*				Air Terminal Building								25,705	  SF		  Same			NO		“NAF Hangar” (Ø)

5306*				Aviation Warehouse	 								13,258	  SF		  Same			NO		“NAF Hangar” (Ø)

5306*				Snack Bar												 3,080	  SF		  Same			NO		“NAF Hangar” (Ø)

5306*				Photographic Building			  					 1,985	  SF		  Same			NO		“NAF Hangar” (Ø)

5306*				Line Crew Shelter											310	  SF		  Same			NO		“NAF Hangar” (Ø)

5306*				EM Barracks w/o Mess										 32	  MN		  Excess			NO		“NAF Hangar” (Ø)

5307		C-6	A/C Control Tower										 2,029	  SF		  Same

5338		C-6	Transformer Station										 75	  KV		  Same

5339		C-6	F.W. Treatment Facility – Chlor						125	  SF		  Same

5340		D-6	Transformer Station										150	  KV		  Same

5341		D-6	B.W. Pumping Station (Inactive)				-				  -		  Excess

5342		E-5	Telephone Exchange Building						 1,173	  SF		  Same

5344		C-6	Transformer Station										 75	  KV		  Same

C-6	GCA Pad														533	  SF		  Same

5360		E-5	Transformer Station										 10	  KV		  Same

5361		E-5	Switching Station											138	  SF		  Same

5366		E-5	B.W. Well #2												 80	  GM		  Same

5367		E-5	B.W. Well #1												 80	  GM		  Same

5368		E-5	B.W. Pumping Station (Wells #1 and 2)				320	  GM		  Same

5374		B-6	Visual Glide Slope Indicator							  1	  EA		  Same

5375		B-7	Visual Glide Slope Indicator							  1	  EA		  Same

5376		C-6	Visual Glide Slope Indicator							  1	  EA		  Same

5377		D-7	Visual Glide Slope Indicator							  1	  EA		  Same

5378		C-6	Transformer Station										 15	  KV		  Same

5379		B-9	Visual Glide Slope Indicator							  1	  EA		  Same

5380		A-9	Visual Glide Slope Indicator							  1	  EA		  Same

5381		B-9	Visual Glide Slope Indicator							  1	  EA		  Same

5382		B-9	Visual Glide Slope Indicator							  1	  EA		  Same

5394		D-5	B.W. Well“A”												  1	  EA		  Same

5395		D-5	B.W. Well“B”												  1	  EA		  Same

5396		D-5	B.W. Well“C”												  1	  EA		  Same

5397		D-5	B.W. Well“D”												  1	  EA		  Same

5398		D-5	B.W. Well“E”												  1	  EA		  Same

U. S. NAVAL STATION, MIDWAY ISLAND (NAVSTA) (cont.)						Unit of

Bldg.No.	LOC.	Descriptive Title (Current Use)				Quantity		Measure	Planned Use		HABS	Current Status or Use 2023

5399		D-5	Transformer Station										  5	  KW		  Same

6146		G-6	Pyrotechnic Magazine. Underground				 2,100	  SF		  Same

6164		E-6	Public Quarters – EM – Prior 1950					  4	  FA		  Same

6165		E-6	Public Quarters – EM – Prior 1950					  4	  FA		  Same

6166		E-7	Public Quarters – EM – Prior 1950					  2	  FA		  Same

6167		F-7	Public Quarters – EM – Prior 1950					  2	  FA		  Same

6168		F-7	Public Quarters – EM – Prior 1950					  4	  FA		  Same

6169		F-7	Public Quarters – EM – Prior 1950					  4	  FA		  Same

6171		F-6	Public Quarters – EM – Prior 1950					  4	  FA		  Same

6172		F-6	Public Quarters – EM – Prior 1950					  4	  FA		  Same

6173		F-6	Public Quarters – EM – Prior 1950					  2	  FA		  Same

6174		F-6	Public Quarters – EM – Prior 1950					  2	  FA		  Same

6175		E-6	Public Quarters – EM – Prior 1950					  4	  FA		  Same

6176		E-6	Public Quarters – EM – Prior 1950					  4	  FA		  Same

6177		G-6	Recreation Building										960	  SF		  Same

S6181		F-5	Playing Court – Tennis								 6,000	  SF		  Same

S6182		F-5	Reservoir, Underground (Inactive)			-				  -		  Ø

S6194		F-7	Inert Storehouse, R.I., Underground				 1,230	  SF		  Same			YES	“Armco Hut Type”

S6195		F-7	Small Arms Magazine, Underground					 3,708	  SF		  Same

S6196		F-7	Small Arms Range – Rifle								  7	  FP		  Same

6301		F-6	Public Quarters – EM										  4	  FA		  Same

6302		F-6	Public Quarters – EM										  4	  FA		  Same

6303		F-6	Public Quarters – EM										  4	  FA		  Same

6304		F-6	Public Quarters – EM										  4	  FA		  Same

6305		F-6	Public Quarters – EM										  4	  FA		  Same

6306		F-6	Public Quarters – EM										  4	  FA		  Same

6307		F-6	Public Quarters – EM										  4	  FA		  Same

6308		F-6	Public Quarters – EM										  4	  FA		  Same

6309		F-6	Public Quarters – EM										  4	  FA		  Same

6310		F-6	Public Quarters – EM										  4	  FA		  Same

6311		F-6	Public Quarters – EM										  4	  FA		  Same

6312		F-6	Public Quarters – EM										  4	  FA		  Same

6313		F-6	Public Quarters – EM										  4	  FA		  Same

6314		F-6	Public Quarters – EM										  4	  FA		  Same

6315		F-6	Public Quarters – EM										  4	  FA		  Same

6316		F-6	Public Quarters – EM										  4	  FA		  Same

6317		F-6	Public Quarters – EM										  4	  FA		  Same

6318		F-6	Public Quarters – EM										  4	  FA		  Same

6319		F-6	Public Quarters – EM										  4	  FA		  Same

6320		F-6	Public Quarters – EM										  4	  FA		  Same

6321		F-6	Public Quarters – EM										  4	  FA		  Same

6322		F-6	Public Quarters – EM										  4	  FA		  Same

6323		F-6	Public Quarters – EM										  4	  FA		  Same

6324		F-6	Public Quarters – EM										  4	  FA		  Same

6325		F-6	Public Quarters – EM										  4	  FA		  Same

6326		F-6	Public Quarters – EM										  4	  FA		  Same

6327		F-6	Public Quarters – EM										  4	  FA		  Same

6328		F-6	Public Quarters – EM										  4	  FA		  Same

6329		F-6	Public Quarters – EM										  4	  FA		  Same

6330		F-6	Public Quarters – EM										  4	  FA		  Same

6331		F-6	Public Quarters – EM										  4	  FA		  Same

6332		F-6	Public Quarters – EM										  4	  FA		  Same

6333		F-6	Public Quarters – EM										  4	  FA		  Same

6334		F-6	Public Quarters – EM										  4	  FA		  Same

6335		F-6	Public Quarters – EM										  4	  FA		  Same

U. S. NAVAL STATION, MIDWAY ISLAND (NAVSTA) (cont.)						Unit of

Bldg.No.	LOC.	Descriptive Title (Current Use)				Quantity		Measure	Planned Use		HABS	Current Status or Use 2023

6336		F-6	Public Quarters – EM										  4	  FA		  Same

6337		F-6	Public Quarters – EM										  4	  FA		  Same

6338		F-6	Public Quarters – EM										  4	  FA		  Same

6339		F-6	Public Quarters – EM										  4	  FA		  Same

6340		F-6	Public Quarters – EM										  4	  FA		  Same

6341		F-6	Public Quarters – EM										  4	  FA		  Same

6342		E-6	Public Quarters – EM										  4	  FA		  Same

6343		E-6	Public Quarters – EM										  4	  FA		  Same

6344		E-6	Public Quarters – EM										  4	  FA		  Same

6345		E-6	Public Quarters – EM										  4	  FA		  Same

6346		F-5	Dependent School									   34,134	  SF		  Same			NO		Demolition (xxxx) “George Cannon School”

6347		F-5	Flag Pole													  1	  EA		  Same

6348		F-6	CPO Club													 5,084	  SF		  Same

6349		D-6	Air Raid/Storm Shelter, Underground				 2,056	  SF		  Same

6350		G-6	Boathouse												 3,240	  SF		  Same

6351		G-6	Recreational Dock/Ramp								 	127	  LF		  Same

6352		F-7	Laundry House												360	  SF		  Same

6353		E-6	Laundry House												360	  SF		  Same

6354		F-6	Air Raid/Storm Shelter, Underground				 2,096	  SF		  Same

6356		F-6	Playing Field – Football/Baseball			  140,000	  SF							NO		Demolition (xxxx) “Henderson Field”

6359		F-7	Small Arms Range – Pistol								  7	  FP		  Same

6395*		F-6	Tacan Building												655	  SF		  Same

6395*				Standby Generator Plant								  31.5	  KV		  Same

S7112		B-10	H.E. Magazine, R.I.									 1,200	  SF		  Same

S7113		B-9	Inert Storehouse, R.I.								 1,000	  SF		  Same			YES	“Armco Hut Type”

S7118		C-9	Inert Storehouse, R.I.								 1,564	  SF		  Same

S7119		C-9	Fuse/Detonator Magazine, R. I.					 1,000	  SF		  Same			YES	“Armco Hut Type”

S7121		C-9	Magazine, H.E., R.I.									 1,000	  SF 		  Same

S7122		D-8	Magazine, H.E., R.I.									 1,200	  SF 		  Same 			YES	“Armco Hut Type”

S7123		D-8	Magazine, H.E., R.I.									 1,498	  SF 		  Same

S7124		D-8	Magazine, H.E., R.I.									 1,250	  SF 		  Same			YES	“Armco Hut Type”

S7125		D-8	Magazine, H.E., R.I.									 1,000	  SF 		  Same			YES	“Armco Hut Type”

7134		F-3	Public Toilet												480	  SF		  Same

7140		F-1	Barracks, EM w/o Mess									  4	  MN		Demolition

7141		F-1	Barracks, EM w/o Mess									  2	  MN		Demolition

7142		F-1	Port Control Office										214	  SF		  Same

8101		C-8	F.W.Storage Tank, G.L.							4,200,000	  GA		  Same

8102		C-8	F.W.Storage Tank, G.L.							4,200,000	  GA		  Same

8103		C-7	VHF/UHF Communication Building						414	  SF		  Same

8104		C-7	Standby Generator Plant								  31.5	  KV		  Same

8105		C-7	F.W. Pumping Station									20,000	  GM		  Same

8106		C-7	Transformer Station										300	  KV		  Same

8107*		C-9	AUW Shop (Secured)									 6,752	  SF		  Same			NO		Demolition (xxxx)	“AREA 7”

8107*				Transformer Station										225	  KV		  Same			NO		Demolition (xxxx)	“AREA 7”

8108		C-9	Special Weapons Magazine							 3,028	  SF		  Excess			NO		Demolition (xxxx)	“AREA 7”

8109*				Gate/Sentry House											200	  SF		  Same			NO		Demolition (xxxx)	“AREA 7”

8109*				Standby Generator Plant								  31.5	  KV		  Same			NO		Demolition (xxxx)	“AREA 7”

8110		C-8	F.W. Storage Tank, G.L.							4,200,000	  GA		  Same

S305*		E-5	Ground Support Maintenance Shop					 2,640	  SF		  Same

AMERICAN TELEPHONE & TELEGRAPH CORP (AT&T) 									Unit of

Bldg.No.	LOC.	Descriptive Title (Current Use)				Quantity		Measure	Planned Use		HABS	Current Status or Use 2023

300		F-4	Housing, AT&T												 2		  EA		  Same

502		E-6	Cable Terminal Building, AT&T						1,080		  SF		  Same

COMMISSARY (COMSY) 																	Unit of

Bldg.No.	LOC.	Descriptive Title (Current Use)				Quantity		Measure	Planned Use		HABS	Current Status or Use 2023

349*		E-4	Cold Storage Warehouse, R.I.						30,000	  CU		  Same			YES		“Cold Storage”

349*				General Storage Warehouse, R.I.					 6,190	  SF		  Same			YES		“Commissary”

2403*		F-4	Commissary												12,572	  SF		  Same

NAVAL COMMUNICATIONS UNIT, MIDWAY DETACHMENT (NCU) 						Unit of

Bldg.No.	LOC.	Descriptive Title (Current Use)				Quantity		Measure	Planned Use		HABS	Current Status or Use 2023

521		E-6	Communications Center								12,222	  SF		  Same			YES	“Command Post”

5154		D-4	Storage, Organizational								 5,492	  SF		Demolition

5222		E-6	Standby Generator Plant									 75	  KV		  Same

5309*		D-4	Transmitter Building									 9,478	  SF		  Same

5309*				Transformer Station									 1,500	  KV

5310		D-4	Antenna, Tower Supported								  1	  EA		  Same

5313		D-5	Antenna, Pole & Wire										  1	  EA		  Same

5314		D-5	Antenna, Pole & Wire										  1	  EA		  Same

5320		D-5	Antenna, Pole & Wire										  1	  EA		  Same

5323		D-5	Antenna, Pole & Wire										  1	  EA		  Same

5324		D-4	Antenna, Pole & Wire										  1	  EA		  Same

5325		D-4	Antenna, Pole & Wire										  1	  EA		  Same

5326		D-5	Antenna, Pole & Wire										  1	  EA		  Same

5328		D-4	Antenna, Tower Supported								  1	  EA		  Same

5330		D-4	Antenna, Pole & Wire										  1	  EA		  Same

5331		D-4	Antenna, Pole & Wire										  1	  EA		  Same

5332		D-4	Antenna, Pole & Wire										  1	  EA		  Same

5333		D-3	Antenna, Pole & Wire										  1	  EA		  Same

5334		D-3	Antenna, Pole & Wire										  1	  EA		  Same

5336		D-3	Antenna, Pole & Wire										  1	  EA		  Same

5337		E-6	Antenna, Pole & Wire										  1	  EA		  Same

5349		D-2	Antenna, Tower Supported								  1	  EA		  Same

5350		D-3	Antenna, Tower Supported								  1	  EA		  Same

5351		D-5	Antenna, Pole & Wire										  1	  EA		  Same

5353		D-4	Antenna, Pole & Wire										  1	  EA		  Same

5354		D-4	Antenna, Pole & Wire										  1	  EA		  Same

5355		E-6	Antenna, Pole & Wire										  1	  EA		  Same

5356		E-6	Antenna, Pole & Wire										  1	  EA		  Same

5357		E-6	Antenna, Pole & Wire										  1	  EA		  Same

5358		D-4	Antenna, Tower Supported								  1	  EA		  Same

5359		D-5	Antenna, Pole & Wire										  1	  EA		  Same

5363		D-3	Antenna, Pole & Wire										  1	  EA		  Same

5316		D-5	Antenna, Pole & Wire										  1	  EA		Removal

5327		D-5	Antenna, Pole & Wire										  1	  EA		Removal

5364		D-?	Antenna, Tower Supported								  1	  EA		  Same

5369		C-5	Antenna, Tower Supported								  1	  EA		  Same

5370		D-4	Antenna, Tower Supported								  1	  EA		  Same

5371		D-4	Antenna, Tower Supported								  1	  EA		  Same

5372		D-3	Antenna, Tower Supported								  1	  EA		  Same

5373		D-2	Antenna, Tower Supported								  1	  EA		  Same

5383		E-5	Antenna, Tower Supported								  1	  EA		  Same

5384		E-5	Antenna, Tower Supported								  1	  EA		  Same

5385		D-4	Antenna, Tower Supported								  1	  EA		  Same

5386		D-4	Antenna, Tower Supported								  1	  EA		  Same

5387		D-4	Antenna, Tower Supported								  1	  EA		  Same

NAVAL COMMUNICATIONS UNIT, MIDWAY DETACHMENT (NCU)(cont.) 				Unit of

Bldg.No.	LOC.	Descriptive Title (Current Use)				Quantity		Measure	Planned Use		HABS	Current Status or Use 2023

5388		D-4	Antenna, Tower Supported								  1	  EA		  Same

5389		D-4	Antenna, Tower Supported								  1	  EA		  Same

5390		D-3	Antenna, Tower Supported								  1	  EA		  Same

5391		D-3	Antenna, Tower Supported								  1	  EA		  Same

NAVAL WEATHER SERVICE ENVIRONMENTAL DETACHMENT (NWS) 						Unit of

Bldg.No.	LOC.	Descriptive Title (Current Use)				Quantity		Measure	Planned Use		HABS	Current Status or Use 2023

5306*		E-6	Meteorological Building								 4,805	  SF		  Same					“NAF Hangar” (Ø)

S7138		D-5	Balloon Inflation Building								728	  SF		  Same

PACIFIC MISSILE RANGE/HILS (PMR) 												Unit of

Bldg.No.	LOC.	Descriptive Title (Current Use)				Quantity		Measure	Planned Use		HABS	Current Status or Use 2023

S956		A-8	Storage, Organizational, Underground				500	  SF		  Same

963		A-9	MILS Building											 3,008	  SF		  Same

964*		A-9	Standby Generator											125	  KV		  Same

USAF 607TH MACSS (USAF) 															Unit of

Bldg.No.	LOC.	Descriptive Title (Current Use)				Quantity		Measure	Planned Use		HABS	Current Status or Use 2023

567		D-5	Aviation Warehouse									 6,000	  SF		  Same

568		D-5	Aviation Warehouse									 6,000	  SF		  Same

589		E-7	Auto Vehicle Maintenance Facility				 7,872	  SF		  Same

592		E-7	Aviation Warehouse										749	  SF		  Same

593		E-7	Aviation Warehouse										749	  SF		  Same

594		E-7	Aviation Warehouse									 1,818	  SF		  Same			YES	“Airfield Storage Building 1”
595		E-7	General Warehouse, R.I.								 3,964	  SF		  Same			YES	“Blackout Hangar”

596		E-7	Aviation Warehouse										749	  SF		  Same			YES	“Airfield Storage Building 2”
5158		E-7	Automotive Vehicle Maintenance Facility			711	  SF		  Same

5306*		E-6	Administrative Offices – ACF						 3,975	  SF		  Same			NO		“NAF Hangar” (Ø)

5306*				A/C Maintenance Hangar								27,160	  SF		  Same			NO		“NAF Hangar” (Ø)

5308		C-6	Ground Support Maintenance Shop					 3,651	  SF		  Same

(*) Multiple Category Use Buildings

(+) Under construction

(Ø) Abandoned in Place

U.S. NAVAL STATION, MIDWAY ISLAND (NAVSTA) 									Unit of

Bldg.No.	LOC.	Descriptive Title (Current Use)				Quantity		Measure	Planned Use		HABS	Current Status or Use 2023

108		E-2	RECREATION DOCK

109		E-2	BOAT HOUSE

201		F-$	GOLF CLUB

309		D-4	ELECT.POWER PLANT,DIESEL

NOTE:

1 CO NAVSTA MIDWAY ISLAND CONCURRED BY LTR

NS 96814:PWC:ag 11000 SER 173 OF29 JAN 1966.

ABBREVIATION KEY:

A/C	= Aircraft

ACF	= [ ? ]

AUW	= Advanced Undersea Weapon

Anti-Underwater Warfare

AVGAS	= Aviation Gasoline

BH		= [ ? ]

BLDG	= Building

B.W.	= Brackish Water

C.O.	= Commanding Officer

CF		= Cubic Foot

CHLOR	= Chlorine

CPO	= Chief Petty Officer

CU		= Cubic Units

D.O.	= [ ? ]

E.M.	= Enlisted Men

EA		= Each

ELECT	= Electric

EM		= Enlisted Men

FA		= Family (occupancy)

FAC	= Facility

FB		= linear feet of berthing

FP		= Firing Position

F.W.	= Fresh Water

GA		= Gallons

GAL	= Gallons

G.C.A.= Ground Control Approach

(radar landing system)

GM		= Gallons Per Minute

GPM	= Gallons Per Minute

GPO 	= [ ? ]

HABS	= Historic American Buildings Survey

H.E.  = High Explosive

HO		= Holes (in Golf)

J.O.	= Junior Officer

JP-4	= Jet propellant-4

KV		= Kilovolts

KW		= Kilowatts

LF		= Linear Feet

MILS	= Missile Impact Location System

MN		= Man (occupancy)

MOGAS	= Motor Gasoline

NAF 	= Naval Air Facility

NCO	= Non-Commissioned Officer

NSFO	= Navy Standard/Special Fuel Oil

NX		= Navy Exchange

O.G.	= [ ? ]

OL		= [ ? ]

ORD	= Ordnance

POL	= { ? ]

PW		= Public Works

R.I.	= [ ? ]

S.O.	= Senior Officer

SF		= Square Footage

SKI	= [ ? ]

Spec Ser Cen

= Special Services Center

S.W.	= Salt Water

TACAN = Tactical Air Navigation System

w/o	= without

INDEX OF EXISTING STRUCTURES

CROSS REFERENCE INDEX

BLDG.NO.	 ACTIVITY

S-1			NAVSTA

S-2			NAVSTA

S-3			NAVSTA

S-4			NAVSTA

S-5			NAVSTA

S-6			NAVSTA

S-21			NAVSTA

S-22			NAVSTA

S-23			NAVSTA

S-24			NAVSTA

S-25			NAVSTA

S-26			NAVSTA

S-27			NAVSTA

S-28			NAVSTA

S-29			NAVSTA

S-30			NAVSTA

110			NAVSTA

111			NAVSTA

117			NAVSTA

117A			NAVSTA

123			NAVSTA

124			NAVSTA

130			NAVSTA

136			NAVSTA

137			NAVSTA

138			NAVSTA

139			NAVSTA

141			NAVSTA

143			NAVSTA

144			NAVSTA

151			NAVSTA

170			NAVSTA

172			NAVSTA

173			NAVSTA

174			NAVSTA

178			NAVSTA

180			NAVSTA

189			NAVSTA

200			NAVSTA

213			NAVSTA

215			NAVSTA

217			NAVSTA

219			NAVSTA

221			NAVSTA

222			NAVSTA

S225-A		NAVSTA

227			NAVSTA

S-228			NAVSTA

231			NAVSTA

232			NAVSTA

S-245			NAVSTA

BLDG.NO.	 ACTIVITY

S-246			NAVSTA

254			NAVSTA

256			NAVSTA

259			NAVSTA

S-265			NAVSTA

S-271			NAVSTA

S-276			NAVSTA

S-277			NAVSTA

S-283			NAVSTA

S-284			NAVSTA

S-285			NAVSTA

S-287			NAVSTA

S-294			NAVSTA

300			NAVSTA

310			NAVSTA

312			NAVSTA

S-315			NAVSTA

321			NAVSTA

S-323			NAVSTA

326			NAVSTA

329			NAVSTA

330			AT&T

335			NAVSTA

339			NAVSTA

340			NAVSTA

342			NAVSTA

343			NAVSTA

347			NAVSTA

348			NAVSTA

349			COMSY

350			NAVSTA

353			NAVSTA

354			NAVSTA

S-355			NAVSTA

356			NAVSTA

357			NAVSTA

360			NAVSTA

S-361			NAVSTA

363			NAVSTA

365			NAVSTA

370			NAVSTA

381			NAVSTA

393			NAVSTA

401			NAVSTA

411			NAVSTA

412			NAVSTA

414			NAVSTA

415			NAVSTA

416			NAVSTA

417			NAVSTA

418			NAVSTA

419			NAVSTA

421			NAVSTA

422			NAVSTA

BLDG.NO.	 ACTIVITY

423			NAVSTA

424			NAVSTA

425			NAVSTA

428			NAVSTA

434			NAVSTA

435			NAVSTA

436			NAVSTA

437			NAVSTA

438			NAVSTA

439			NAVSTA

441			NAVSTA

442			NAVSTA

443			NAVSTA

444			NAVSTA

445			NAVSTA

446			NAVSTA

447			NAVSTA

448			NAVSTA

449			NAVSTA

451			NAVSTA

452			NAVSTA

457			NAVSTA

458			NAVSTA

S-462			NAVSTA

463			NAVSTA

S-464			NAVSTA

466			NAVSTA

500			NAVSTA

502			AT&T

503			NAVSTA

520			NAVSTA

521			NCU

545			NAVSTA

567			USAF

568			USAF

574			NAVSTA

576			NAVSTA

578			NAVSTA

579			NAVSTA

580			NAVSTA

581			NAVSTA

585			NAVSTA

586			NAVSTA

587			NAVSTA

589			USAF

592			USAF

593			USAF

594			USAF

595			USAF

596			USAF

597			NAVSTA

598			NAVSTA

BLDG.NO.	 ACTIVITY

609			NAVSTA

611			NAVSTA

619			NAVSTA

622			NAVSTA

623			NAVSTA

626			NAVSTA

628			NAVSTA

629			NAVSTA

631			NAVSTA

632			NAVSTA

635			NAVSTA

637			NAVSTA

643			NAVSTA

648			NAVSTA

649			NAVSTA

651			NAVSTA

652			NAVSTA

690			NAVSTA

S-692			NAVSTA

698			NAVSTA

699			NAVSTA

S-953			NAVSTA

S-956			PMR

963			PMR

964			PMR

965			NAVSTA

966			NAVSTA

967			NAVSTA

S-1119		NAVSTA

1120			NAVSTA

1121			NAVSTA

1122			NAVSTA

1123			NAVSTA

1125			NAVSTA

S-2115		NAVSTA

S-2123		NAVSTA

2127		NAVSTA

S-2128		NAVSTA

2401			NAVSTA

2402			NAVSTA

2403			NAVSTA

& COMSY

2404			NAVSTA

2407			NAVSTA

2409			NAVSTA

2410			NAVSTA

2411			NAVSTA

2412			NAVSTA

S-3126		NAVSTA

S-3127		NAVSTA

S-3128		NAVSTA

S-3131		NAVSTA

S-3139		NAVSTA

BLDG.NO.	 ACTIVITY

S-3142		NAVSTA

3501			NAVSTA

3502			NAVSTA

3503			NAVSTA

3504			NAVSTA

3505			NAVSTA

3506			NAVSTA

3507			NAVSTA

3508			NAVSTA

3509			NAVSTA

3510			NAVSTA

3511			NAVSTA

3512			NAVSTA

3513			NAVSTA

3514			NAVSTA

S-4121		NAVSTA

S-4122		NAVSTA

S-4123		NAVSTA

S-4129		NAVSTA

4130			NAVSTA

S-4131		NAVSTA

S-4132		NAVSTA

S-4136		NAVSTA

S-4140		NAVSTA

S-4143		NAVSTA

4201			NAVSTA

4202			NAVSTA

4203			NAVSTA

4204			NAVSTA

4205			NAVSTA

4206			NAVSTA

4207			NAVSTA

4208			NAVSTA

4209			NAVSTA

4210			NAVSTA

4211			NAVSTA

4213			NAVSTA

4214			NAVSTA

5126			NAVSTA

5150			NAVSTA

5153			NAVSTA

5154			NCU

5158			USAF

S-5172		NAVSTA

S-5177		NAVSTA

5182			NAVSTA

5191			NAVSTA

5222			NCU

S-5243		NAVSTA

S-5247		NAVSTA

S-5252		NAVSTA

5267			NAVSTA

5299			NAVSTA

5301			NAVSTA

BLDG.NO.	 ACTIVITY

5302			NAVSTA

5303			NAVSTA

5304			NAVSTA

5305			NAVSTA

5306			NAVSTA

USAF & NWS

5307			NAVSTA

5308			USAF

5309			NCU

5310			NCU

5313			NCU

5314			NCU

5318			NCU

5320			NCU

5321

5323			NCU

5324			NCU

5325			NCU

5326			NCU

5328			NCU

5330			NCU

5331			NCU

5332			NCU

5333			NCU

5334			NCU

5336			NCU

5337			NCU

5338			NAVSTA

5339			NAVSTA

5340			NAVSTA

5341			NAVSTA

5342			NAVSTA

5344			NAVSTA

5349			NCU

5350			NCU

5351			NCU

5353			NCU

BLDG.NO.	 ACTIVITY

5354			NCU

5355			NCU

5356			NCU

5357			NCU

5358			NCU

5359			NCU

5360			NAVSTA

5361			NAVSTA

5363			NCU

5364			NCU

5366			NAVSTA

5367			NAVSTA

5368			NAVSTA

5369			NCU

5370			NCU

5371			NCU

5372			NCU

5373			NCU

5374			NAVSTA

5375			NAVSTA

5376			NAVSTA

5377			NAVSTA

5378			NAVSTA

5379			NAVSTA

5380			NAVSTA

5381			NAVSTA

5382			NAVSTA

5383			NCU

5384			NCU

5385			NCU

5386			NCU

5387			NCU

5388			NCU

5389			NCU

5390			NCU

5391			NCU

BLDG.NO.	 ACTIVITY

6146			NAVSTA

6164			NAVSTA

6165			NAVSTA

6166			NAVSTA

6167			NAVSTA

6168			NAVSTA

6169			NAVSTA

6171			NAVSTA

6172			NAVSTA

6173			NAVSTA

6174			NAVSTA

6175			NAVSTA

6176			NAVSTA

6177			NAVSTA

S-6181		NAVSTA

S-6182		NAVSTA

S-6194		NAVSTA

S-6195		NAVSTA

S-6196		NAVSTA

6301			NAVSTA

6302			NAVSTA

6303			NAVSTA

6304			NAVSTA

6305			NAVSTA

6306			NAVSTA

6307			NAVSTA

6308			NAVSTA

6309			NAVSTA

6310			NAVSTA

6311			NAVSTA

6312			NAVSTA

6313			NAVSTA

6314			NAVSTA

6315			NAVSTA

6316			NAVSTA

6317			NAVSTA

6318			NAVSTA

BLDG.NO.	 ACTIVITY

6319			NAVSTA

6320			NAVSTA

6321			NAVSTA

6322			NAVSTA

6323			NAVSTA

6324			NAVSTA

6325			NAVSTA

6326			NAVSTA

6327			NAVSTA

6328			NAVSTA

6329			NAVSTA

6330			NAVSTA

6331			NAVSTA

6332			NAVSTA

6333			NAVSTA

6334			NAVSTA

6335			NAVSTA

6336			NAVSTA

6337			NAVSTA

6338			NAVSTA

6339			NAVSTA

6340			NAVSTA

6341			NAVSTA

6342			NAVSTA

6343			NAVSTA

6344			NAVSTA

6345			NAVSTA

6346			NAVSTA

6347			NAVSTA

6348			NAVSTA

6349			NAVSTA

6350			NAVSTA

6351			NAVSTA

6352			NAVSTA

6353			NAVSTA

6354			NAVSTA

6356			NAVSTA

BLDG.NO.	 ACTIVITY

6359			NAVSTA

6395			NAVSTA

S-7112		NAVSTA

S-7113		NAVSTA

S-7118		NAVSTA

S-7119		NAVSTA

S-7121		NAVSTA

S-7122		NAVSTA

S-7123		NAVSTA

S-7124		NAVSTA

S-7125		NAVSTA

7134			NAVSTA

S-7138		NWS

7140			NAVSTA

7141			NAVSTA

7142			NAVSTA

8101			NAVSTA

8102			NAVSTA

8104			NAVSTA

8103			NAVSTA

8105			NAVSTA

8106			NAVSTA

8107			NAVSTA

8108			NAVSTA

8109			NAVSTA

8110			NAVSTA

108			NAVSTA

109			NAVSTA

201			NAVSTA

309			NAVSTA

538			NAVSTA

4212			NAVSTA

5327			NCU

ABBREVIATION KEY

AT&T   = AMERICAN TELEPHONE & TELEGRAPH CORP

COMSY  = COMMISSARY

NAVSTA = U. S. NAVAL STATION, MIDWAY ISLAND

NCU    = NAVAL COMMUNICATIONS UNIT, MIDWAY DETACHMENT

NWS    = NAVAL WEATHER SERVICE ENVIRONMENTAL DETACHMENT

PMR    = PACIFIC MISSILE RANGE/HILS

USAF   = USAF 607TH MACSS